## HOOFDDOCUMENT
ECONOMICAL EVALUATION - LED LIGHTING
Number of lamps | 100 | Pieces | PURCHASE
|  |  | Total purchase value of conventional lamps : | 5000 | €
USAGE |  |  | Total purchase price of conventional lamps during lifespan of LED lamps : | 16666.6667 | €
Number of hours usage per day : | 16 | Hours | Total purchase value of LED lamps : | 46500 | €
Number of operational days per week : | 5 | Days | Additional purchase value over lifespan of LED lamps | 29833.3333 | €
Number of operational weeks per year : | 49 | Weeks
Total annual usage per lamp : | 3920 | Hours | VALUE OF ENERGY CONSUMPTION
Total annual usage for the total project : | 392000 | Hours | Annual consumption cost using conventional lamps : | 22579.2 | €
|  |  | Annual consumption cost using LED lamps: | 4704 | €
ELECTRICITY |  |  | VALUE OF ENERGY SAVING DURING FIRST YEAR : | 17875.2 | €
Hourly consumption of conventional lamp : | 480 | watt | VALUE OF ENERGY SAVING DURING SECOND YEAR : | 18768.96 | €
Hourly consumption of LED lamp : | 100 | watt | VALUE OF ENERGY SAVING DURING THIRD YEAR : | 19707.408 | €
Price per kW/h : | 0.12 | €
Annual electricity index percentage : | 5 | % | CONVERSION COST CONVENTIONAL TOWARDS LED
Hourly energy consumption using conventional lighting : | 48 | kW | Hourly salary cost : | 30 | €
Hourly eneergy consumption using LED lighting : | 10 | kW | Necessary one-time conversion time per lamp : | 15 | minutes
Weekly energy consumption using conventionel lighting : | 3840 | kW/h | TOTAL CONVERSION COST | 750 | €
Weekly energy consumption using LED lighting : | 800 | kW/h
Yearly energy consumption using conventional lighting : | 188160 | kW/h | MAINTENANCE COST
Yearly energy consumption using LED lighting : | 39200 | kW/h | Hourly salary cost : | 30 | €
|  |  | Time needed for replacement of 1 conventional lamp | 10 | minutes
PURCHASE PRICES |  |  | Cost for the replacement of 1 lamp : | 5 | €
Purchase price of 1 conventional lamp : | 50 | € | Total replacement cost for the total project : | 500 | €
Purchase price of 1 LED lamp : | 465 | € | Number of replacement conventional versus LED | 2 | times
|  |  | ADDITIONAL REPLACEMENT COST TOTAL PROJECT | 1000 | €
LIFESPAN
Lifespan of halogen lamp : | +/- 2 - 4.000 | Hours | AIRCONDITIONING CONSUMPTION
Lifespan of conventional fluorescence TL : | +/- 8 - 10.000 | Hours | Annual cost of A/C using conventional lighting : | 0 | €
Lifespan of bulb : | +/- 1.000 | Hours | Annual cost of A/C using LED lighting : | 0 | €
Average lifespan of conventional lighting : | 15000 | Hours | VALUE OF ENERGY SAVING ON A/C CONSUMPTION DURING FIRST YEAR | 0 | €
Average lifespan of LED lighting : | 50000 | Hours | VALUE OF ENERGY SAVING ON A/C CONSUMPTION DURING SECOND YEAR | 0 | €
Lifespan of conventional lighting expressed in years : | 3.8265 | Years | VALUE OF ENERGY SAVING ON A/C CONSUMPTION DURING THIRD YEAR | 0 | €
Lifespan of LED lighting expressed in years : | 12.7551 | Years
SAVINGS
ENERGY CONSUMPTION AIRCONDITIONING |  |  | PERIOD | kW | CO2 | EURO
SAVING ON AIRCONDITIONING APPLICABLE (Y/N) | n |  | YEAR 1 | 148960 | 68.5216 | -24374.8
In case of conventional lighting : 80% of energy is converted to heat | 0 | Heat / h / lamp | YEAR 2 | 297920 | 137.0432 | -5605.84
In case of LED lighting : 20% of energy is converted to heat | 0 | Heat / h / lamp | YEAR 3 | 446880 | 205.5648 | 14101.568
|  |  | YEAR 4 | 595840 | 274.0864 | 40294.3464
1 kW of actual AC consumption equals 0,4 kW electricity consumption |  |  | YEAR 5 | 744800 | 342.608 | 62021.7637
In case of conventional lighting : | 0 | kW EL/h | YEAR 6 | 893760 | 411.1296 | 84835.5519
In case of LED lighting : | 0 | kW EL/h | YEAR 7 | 1042720 | 479.6512 | 108790.0295
Total hourly consumption using conventional lighting : | 0 | kW EL/h | YEAR 8 | 1191680 | 548.1728 | 139442.231
Total hourly consumption using LED lighting : | 0 | kW EL/h | YEAR 9 | 1340640 | 616.6944 | 165852.0425
Total annual consumption using conventional lighting : | 0 | kW EL/year | YEAR 10 | 1489600 | 685.216 | 193582.3447
Total annual consumption using LED lighting : | 0 | kW EL/year | RETURN ON INVESTMENT AS OF | #N/A
-79.17%

## WERKBLAD
ROI CALCULATION IN YEARS
Jaren | Aantal Aankopen LED | ABS Aantal Aankopen LED | Aankoop LED Jaar in € | Aantal Aankopen Klassiek | ABS Aantal aankopen | Aankoop Klassiek Jaar in € | Energieprijs KWH | Besparing Verbruik Lamp Kw | Besparing Verbruik Lamp € | Additionele onderhouds beurt | Kost Onderhoud € | Kost Omschakeling | Besparing Verbruik Airco KW | Besparing Airco € | TOTAAL BESPARING JAAR € | ACCUMULATIE BESPARING €
1 year | 0.0784 | 0 | 46500 | 0.26133 | 0 | 5000 | 0.12 | 148960 | 17875.2 | 0 | 0 | 750 | 0 | 0 | -24374.8 | -24374.8
2 year | 0.1568 | 0 | 0 | 0.52267 | 0 | 0 | 0.126 | 148960 | 18768.96 | 0 | 0 | 0 | 0 | 0 | 18768.96 | -5605.84
3 year | 0.2352 | 0 | 0 | 0.784 | 0 | 0 | 0.1323 | 148960 | 19707.408 | 0 | 0 | 0 | 0 | 0 | 19707.408 | 14101.568
4 year | 0.3136 | 0 | 0 | 1.0453 | 1 | 5000 | 0.13892 | 148960 | 20692.7784 | 1 | 500 | 0 | 0 | 0 | 26192.7784 | 40294.3464
5 year | 0.392 | 0 | 0 | 1.3067 | 1 | 0 | 0.14586 | 148960 | 21727.4173 | 1 | 0 | 0 | 0 | 0 | 21727.4173 | 62021.7637
6 year | 0.4704 | 0 | 0 | 1.568 | 1 | 0 | 0.15315 | 148960 | 22813.7882 | 1 | 0 | 0 | 0 | 0 | 22813.7882 | 84835.5519
7 year | 0.5488 | 0 | 0 | 1.8293 | 1 | 0 | 0.16081 | 148960 | 23954.4776 | 1 | 0 | 0 | 0 | 0 | 23954.4776 | 108790.0295
8 year | 0.6272 | 0 | 0 | 2.0907 | 2 | 5000 | 0.16885 | 148960 | 25152.2015 | 2 | 500 | 0 | 0 | 0 | 30652.2015 | 139442.231
9 year | 0.7056 | 0 | 0 | 2.352 | 2 | 0 | 0.17729 | 148960 | 26409.8115 | 2 | 0 | 0 | 0 | 0 | 26409.8115 | 165852.0425
10 year | 0.784 | 0 | 0 | 2.6133 | 2 | 0 | 0.18616 | 148960 | 27730.3021 | 2 | 0 | 0 | 0 | 0 | 27730.3021 | 193582.3447
11 year | 0.8624 | 0 | 0 | 2.8747 | 2 | 0 | 0.19547 | 148960 | 29116.8172 | 2 | 0 | 0 | 0 | 0 | 29116.8172 | 222699.1619
12 year | 0.9408 | 0 | 0 | 3.136 | 3 | 5000 | 0.20524 | 148960 | 30572.6581 | 3 | 500 | 0 | 0 | 0 | 36072.6581 | 258771.82
13 year | 1.0192 | 1 | 46500 | 3.3973 | 3 | 0 | 0.2155 | 148960 | 32101.291 | 2 | -500 | 0 | 0 | 0 | -14898.709 | 243873.111
14 year | 1.0976 | 1 | 0 | 3.6587 | 3 | 0 | 0.22628 | 148960 | 33706.3555 | 2 | 0 | 0 | 0 | 0 | 33706.3555 | 277579.4665
15 year | 1.176 | 1 | 0 | 3.92 | 3 | 0 | 0.23759 | 148960 | 35391.6733 | 2 | 0 | 0 | 0 | 0 | 35391.6733 | 312971.1399
16 year | 1.2544 | 1 | 0 | 4.1813 | 4 | 5000 | 0.24947 | 148960 | 37161.257 | 3 | 500 | 0 | 0 | 0 | 42661.257 | 355632.3968
17 year | 1.3328 | 1 | 0 | 4.4427 | 4 | 0 | 0.26194 | 148960 | 39019.3198 | 3 | 0 | 0 | 0 | 0 | 39019.3198 | 394651.7167
18 year | 1.4112 | 1 | 0 | 4.704 | 4 | 0 | 0.27504 | 148960 | 40970.2858 | 3 | 0 | 0 | 0 | 0 | 40970.2858 | 435622.0025
19 year | 1.4896 | 1 | 0 | 4.9653 | 4 | 0 | 0.28879 | 148960 | 43018.8001 | 3 | 0 | 0 | 0 | 0 | 43018.8001 | 478640.8026
20 year | 1.568 | 1 | 0 | 5.2267 | 5 | 5000 | 0.30323 | 148960 | 45169.7401 | 4 | 500 | 0 | 0 | 0 | 50669.7401 | 529310.5428
DATECALCUALTION
0.083 | 12.7551 | 12 | 0.7551 | 9.0976 | 10 | 154 | months
0.083 | 3.8265 | 3 | 0.82653 | 9.9582 | 10 | 46 | months
ROI CALCULATION EXPRESSED IN MONTHS
Jaren | Aantal Aankopen LED | ABS Aantal Aankopen LED | Aankoop LED Jaar in € | Aantal Aankopen Klassiek | ABS Aantal aankopen | Aankoop Klassiek Jaar in € | Energieprijs KWH | Besparing Verbruik Lamp Kw | Besparing Verbruik Lamp € | Additionele onderhouds beurt | Kost Onderhoud € | Kost Omschakeling | Besparing Verbruik Airco KW | Besparing Airco € | TOTAAL BESPARING JAAR € | ACCUMULATIE BESPARING €
1- ST MONTH | 0.0064935 | 0 | 46500 | 0.021739 | 0 | 5000 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 750 | 0 | 0 | -40664.871 | -40664.871 | 0 | 0 | 1- ST MONTH | ROI | #N/A
2-ND MONTH | 0.012987 | 0 | 0 | 0.043478 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -39079.7421 | 0 | 0 | 2-ND MONTH
3-RD MONTH | 0.019481 | 0 | 0 | 0.065217 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -37494.6131 | 0 | 0 | 3-RD MONTH
4-TH MONTH | 0.025974 | 0 | 0 | 0.086957 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -35909.4842 | 0 | 0 | 4-TH MONTH
5-TH MONTH | 0.032468 | 0 | 0 | 0.1087 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -34324.3552 | 0 | 0 | 5-TH MONTH
6-TH MONTH | 0.038961 | 0 | 0 | 0.13043 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -32739.2262 | 0 | 0 | 6-TH MONTH
7-TH MONTH | 0.045455 | 0 | 0 | 0.15217 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -31154.0973 | 0 | 0 | 7-TH MONTH
8-TH MONTH | 0.051948 | 0 | 0 | 0.17391 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -29568.9683 | 0 | 0 | 8-TH MONTH
9-TH MONTH | 0.058442 | 0 | 0 | 0.19565 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -27983.8394 | 0 | 0 | 9-TH MONTH
10-TH MONTH | 0.064935 | 0 | 0 | 0.21739 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -26398.7104 | 0 | 0 | 10-TH MONTH
11-TH MONTH | 0.071429 | 0 | 0 | 0.23913 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -24813.5814 | 0 | 0 | 11-TH MONTH
12-TH MONTH | 0.077922 | 0 | 0 | 0.26087 | 0 | 0 | 0.12 | 13209.408 | 1585.129 | 0 | 0 | 0 | 0 | 0 | 1585.129 | -23228.4525 | 0 | 0 | 12-TH MONTH
13-TH MONTH | 0.084416 | 0 | 0 | 0.28261 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -21564.0671 | 0 | 0 | 13-TH MONTH
14-TH MONTH | 0.090909 | 0 | 0 | 0.30435 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -19899.6817 | 0 | 0 | 14-TH MONTH
15-TH MONTH | 0.097403 | 0 | 0 | 0.32609 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -18235.2963 | 0 | 0 | 15-TH MONTH
16-TH MONTH | 0.1039 | 0 | 0 | 0.34783 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -16570.9108 | 0 | 0 | 16-TH MONTH
17-TH MONTH | 0.11039 | 0 | 0 | 0.36957 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -14906.5254 | 0 | 0 | 17-TH MONTH
18-TH MONTH | 0.11688 | 0 | 0 | 0.3913 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -13242.14 | 0 | 0 | 18-TH MONTH
19-TH MONTH | 0.12338 | 0 | 0 | 0.41304 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -11577.7546 | 0 | 0 | 19-TH MONTH
20-TH MONTH | 0.12987 | 0 | 0 | 0.43478 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -9913.3692 | 0 | 0 | 20-TH MONTH
21-ST MONTH | 0.13636 | 0 | 0 | 0.45652 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -8248.9838 | 0 | 0 | 21-ST MONTH
22-ND MONTH | 0.14286 | 0 | 0 | 0.47826 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -6584.5984 | 0 | 0 | 22-ND MONTH
23-RD MONTH | 0.14935 | 0 | 0 | 0.5 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -4920.213 | 0 | 0 | 23-RD MONTH
24-TH MONTH | 0.15584 | 0 | 0 | 0.52174 | 0 | 0 | 0.126 | 13209.408 | 1664.3854 | 0 | 0 | 0 | 0 | 0 | 1664.3854 | -3255.8276 | 0 | 0 | 24-TH MONTH
25-TH MONTH | 0.16234 | 0 | 0 | 0.54348 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | -1508.2229 | 0 | 0 | 25-TH MONTH
26-TH MONTH | 0.16883 | 0 | 0 | 0.56522 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 239.3818 | 1 | ROI | 26-TH MONTH
27-TH MONTH | 0.17532 | 0 | 0 | 0.58696 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 1986.9865 | 1 | 0 | 27-TH MONTH
28-TH MONTH | 0.18182 | 0 | 0 | 0.6087 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 3734.5911 | 1 | 0 | 28-TH MONTH
29-TH MONTH | 0.18831 | 0 | 0 | 0.63043 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 5482.1958 | 1 | 0 | 29-TH MONTH
30-TH MONTH | 0.19481 | 0 | 0 | 0.65217 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 7229.8005 | 1 | 0 | 30-TH MONTH
31-ST MONTH | 0.2013 | 0 | 0 | 0.67391 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 8977.4052 | 1 | 0 | 31-ST MONTH
32-ND MONTH | 0.20779 | 0 | 0 | 0.69565 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 10725.0098 | 1 | 0 | 32-ND MONTH
33-RD MONTH | 0.21429 | 0 | 0 | 0.71739 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 12472.6145 | 1 | 0 | 33-RD MONTH
34-TH MONTH | 0.22078 | 0 | 0 | 0.73913 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 14220.2192 | 1 | 0 | 34-TH MONTH
35-TH MONTH | 0.22727 | 0 | 0 | 0.76087 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 15967.8239 | 1 | 0 | 35-TH MONTH
36-TH MONTH | 0.23377 | 0 | 0 | 0.78261 | 0 | 0 | 0.1323 | 13209.408 | 1747.6047 | 0 | 0 | 0 | 0 | 0 | 1747.6047 | 17715.4286 | 1 | 0 | 36-TH MONTH
37-TH MONTH | 0.24026 | 0 | 0 | 0.80435 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 19550.4135 | 1 | 0 | 37-TH MONTH
38-TH MONTH | 0.24675 | 0 | 0 | 0.82609 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 21385.3984 | 1 | 0 | 38-TH MONTH
39-TH MONTH | 0.25325 | 0 | 0 | 0.84783 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 23220.3833 | 1 | 0 | 39-TH MONTH
40-TH MONTH | 0.25974 | 0 | 0 | 0.86957 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 25055.3682 | 1 | 0 | 40-TH MONTH
41-ST MONTH | 0.26623 | 0 | 0 | 0.8913 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 26890.3531 | 1 | 0 | 41-ST MONTH
42-ND MONTH | 0.27273 | 0 | 0 | 0.91304 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 28725.338 | 1 | 0 | 42-ND MONTH
43-RD MONTH | 0.27922 | 0 | 0 | 0.93478 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 30560.3229 | 1 | 0 | 43-RD MONTH
44-TH MONTH | 0.28571 | 0 | 0 | 0.95652 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 32395.3079 | 1 | 0 | 44-TH MONTH
45-TH MONTH | 0.29221 | 0 | 0 | 0.97826 | 0 | 0 | 0.13892 | 13209.408 | 1834.9849 | 0 | 0 | 0 | 0 | 0 | 1834.9849 | 34230.2928 | 1 | 0 | 45-TH MONTH
46-TH MONTH | 0.2987 | 0 | 0 | 1 | 1 | 5000 | 0.13892 | 13209.408 | 1834.9849 | 1 | 500 | 0 | 0 | 0 | 7334.9849 | 41565.2777 | 1 | 0 | 46-TH MONTH
47-TH MONTH | 0.30519 | 0 | 0 | 1.0217 | 1 | 0 | 0.13892 | 13209.408 | 1834.9849 | 1 | 0 | 0 | 0 | 0 | 1834.9849 | 43400.2626 | 1 | 0 | 47-TH MONTH
48-TH MONTH | 0.31169 | 0 | 0 | 1.0435 | 1 | 0 | 0.13892 | 13209.408 | 1834.9849 | 1 | 0 | 0 | 0 | 0 | 1834.9849 | 45235.2475 | 1 | 0 | 48-TH MONTH